## Equipment matrix
Lab Scoping Toolkit: Part 1 - equipment
Project:
| Principal investigator: | John Smith
Unit/Department:
Location:
Form completed by (name and contact info):
| Date completed: | 2024-11-20
Please provide as much information as possbile for each operation and equipment to be housed in the lab. Items 1 through 4 are examples. Please also provide equipment spec sheets, "cut sheets", and installation manuals issued by the equipment manufacturer or vendor.
How this information will be used: The information will be used to design the lab to meet operational requirements and may be shared with architect/engineer, F&S, DRS, lab furniture vendors, suppliers, and construction contractors.
Item # | Process name | Equipment used (Brand or model identifier, name, etc.) | Is equipment Free-standing, Benchtop, Wall- or Ceiling-mounted? | Hazards involved and required controls | Process or equipment description and link to online documentation (or send in email) | Equipment dimensions: Width x Depth x Height (include required headroom and clearance space). If situated or performed inside fume hood, specify Fume Hood space needed | Weigh of equipment or machine load (equipment weight ÷ area of footprint) | Temperature and humidity required | Vibration specification - refer to https://www.newport.com/t/environmental-vibration-criteria | Lab ventilation required? 4-6 air changes per hour (ACH) or more | Chemical fume hood (will also require sink, shower/eyewash) | Perchloric acid fume hood (will require sink, shower and eyewash) | Emergency shower and eyewash | Dedicated exhaust ventilation snorkel or duct and CFM of airflow | Hot Tap Water supply, gallons per minute | Cold Tap Water supply, gallons per minute | Deionized water, gallons per minute | House compressed air, SCFM | House Nitrogen, SCFM | House vacuum | Gas cylinder holder (number of cylinders) | 120 V single phase power (amps or watts) | 480, 240 or 208 V AC power (Volts and Amps) | Number of ethernet jacks | Low-voltage control wiring: Number of runs and length | Other
1 | Furnace heating | Box furnace | Benchtop | Hot gases may require dedicated exhaust | https://www.thermofisher.com/us/en/home/life-science/lab-equipment/lab-ovens-furnaces/lab-furnaces.html#box-furnaces | 29" x 28" x 33" (2 cu ft model) | [7 empty] | Maybe | [8 empty] | Depends on model purchased | 1 ethernet for remote monitoring/control
2 | Chemical storage | Lab Fridge | Free-standing | Flammable materials in sealed containers call for intrinsically-safe fridge. | https://us.vwr.com/store/catalog/product.jsp?product_id=42145644 | 19×16¾×63¾" (14 cu ft model) | 30 PSF | 20 +/- 2 deg. C, 10 – 80% non-condensing | [14 empty] | 120 V AC
3 | Manual chemical etching | Fume hood | Benchtop | Inorganic acids (Corrosives): fume hood, shower/eyewash | See Standard Operating Procedure provided | 2 feet of fume hood space |  |  |  | Y | Y |  | Y |  |  | 0.5
4 | Cleaning using solvents | Fume hood | Benchtop | Organic solvents like acetone, IPA (Flammable): fume hood | See Standard Operating Procedure provided | 2 feet of fume hood space |  |  |  | Y | Y |  | Y |  |  | 0.25
5
6
7
8
Notes
DO NOT EDIT BELOW THIS ROW |  |  | Benchtop
Free-standing
Wall-mounted
Ceiling-mounted

## Chemical inventory
Lab Scoping Toolkit: Part 2 - chemical inventory
Chemical Inventory for John Smith Lab
Date completed: | 2024-11-20
Please provide as much information as possbile for chemicals to be used or stored in the lab. Examples are provided below. Please also provide the Safety Data Sheet for each material or or a link to the SDS online.
How this information will be used: The information will be used to design the lab to meet building and fire code requirements and may be shared with architect/engineer, F&S, DRS, contractors, lab fume hood and casework suppliers.
Chemical Name | CAS # | Amount (Container size) | Room Number | Location | Supplier catalog number or product page | Link to SDS | Date Received | Molec. Formula | Purity | Hazard 1 | Hazard 2 | Hazard 3 | Other Hazards | Other Hazards
Required | Required | Required | Required | Optional | Optional | Required | Optional | Optional | Optional | Please complete based on SDS or chemical label
HANDLED OR USED IN A FUME HOOD |  | Amount Usually In Lab at Any Given Time
Methanol | 67-56-1 | ~2-3 gallons | 105 LAB | Flammables cabinet | https://www.sigmaaldrich.com/US/en/product/sigald/179957 | https://www.sigmaaldrich.com/US/en/sds/sigald/179957?userType=anonymous |  |  |  | Flammable Liquids
Ethanol | 64-17-5 | ~1 gallons | 105 LAB | Flammables cabinet | https://www.sigmaaldrich.com/US/en/product/sigald/459844 | https://www.sigmaaldrich.com/US/en/sds/mm/ex0290?userType=anonymous |  |  |  | Flammable Liquids
Acetone | 67-64-1 | ~2 gallons | 105 LAB | Flammables cabinet | https://www.sigmaaldrich.com/US/en/product/sigald/179124 | https://www.sigmaaldrich.com/US/en/sds/sigald/179124?userType=anonymous |  |  |  | Flammable Liquids
Isopropyl Alcohol | 67-63-0 | ~1 gallon | 105 LAB | Flammables cabinet | https://www.sigmaaldrich.com/US/en/product/sigald/109827 | https://www.sigmaaldrich.com/US/en/sds/sigald/109827?userType=anonymous |  |  |  | Flammable Liquids | Peroxide Forming Chemicals
Hydrochloric Acid | 7647-01-0 | ≤250 mL container | 105 LAB | Corrosives cabinet | https://www.sigmaaldrich.com/US/en/product/sigald/258148 | https://www.sigmaaldrich.com/US/en/sds/sigald/258148?userType=anonymous |  |  |  | Corrosives
HANDLED OR USED OUTSIDE OF A FUME HOOD (ON BENCHTOP OR WITH EQUIPMENT)
Alumina suspension, 0.05 µm |  | 64 oz bottle | 105 LAB |  | https://shop.buehler.com/masterprep-suspension-64-oz | https://www.buehler.com/assets/SDS/US/MasterPrep-US-English.pdf |  |  |  | Health Hazard (2) |  |  | Skin/eye irritant | Serious eye damage
GASES and LIQUIFIED GASES
Argon | 7440-37-1 | (2) of size 300 cylinder | 105 LAB | Cylinder rack | https://www.airgas.com/product/Gases/Methane/p/ME%20UHP300 | https://www.airgas.com/msds/001004.pdf |  |  |  | Compressed gas -inert
Methane | 74-82-8 | (2) of size 300 cylinder | 105 LAB | Cylinder rack | https://www.airgas.com/product/Gases/Argon/p/AR%20UHP300 | https://www.airgas.com/msds/001033.pdf |  |  |  | Compressed gas -flammable

## Hazard classes-do not edit
Acutely Toxic (1 or 2)
Acutely Toxic (3)
Corrosives
Explosive Materials (low)
Explosive Materials (moderate/high)
Flammable Liquids
Flammable Solids (1)
Flammable Solids (2)
Health Hazard (1)
Health Hazard (2)
Nanomaterials
None
Oxidizers-Liquids & Solids
Peroxide Forming Chemicals
Pyrophorics
Water Reactive
Compressed gas -inert
Compressed gas -flammable
Compressed gas -oxidizing
Compressed gas -pyrophoric
Compressed gas -toxic