## Slide 1: Long Read Sequencing
Jesse R. Walsh, Ph.D.
Jag Balan
UIUC – Comp Gen Course
June 25th, 2025

## Slide 2: Outline
Why long reads? (“3rd” generation sequencing)
Long read platforms
Bioinformatics tools
Examples
Lab/Workshop

## Slide 3
Sanger Sequencing: Principle, Steps, Applications, Diagram
Notes: Image from Sanger Sequencing: Principle, Steps, Applications, Diagram - https://microbenotes.com/sanger-sequencing/

## Slide 4: How we got to 3rd Gen Sequencing
1st Generation sequencing
Characterized by
  Chain termination method
  High accuracy
  Low throughput
Example Sequencing Methods
  Sanger
Sanger Sequencing: Principle, Steps, Applications, Diagram
Sanger Sequencing
Notes: Images from Sanger Sequencing: Principle, Steps, Applications, Diagram - https://microbenotes.com/sanger-sequencing/

## Slide 5: How we got to 3rd Gen Sequencing
2nd Generation sequencing (NGS)
Characterized by
  High throughput
  Short reads
Example Sequencing Methods
  Roche/454
  Illumina
  SOLiD
Basics of DNA & Sequencing by Synthesis
Sequencing by Synthesis
Notes: Image from Basics of DNA & Sequencing by Synthesis - https://data-science-sequencing.github.io/Win2018/lectures/lecture2/
Cost per base of sequencing - DNA Sequencing Costs: Data - https://www.genome.gov/about-genomics/fact-sheets/DNA-Sequencing-Costs-Data

## Slide 6: Why Long reads?
Eventually, limitations of SRS led to the need to develop LRS
Short read methods
  Are unable to span difficult to sequence regions of the genome
  Haplotyping is a major challenge
  Additional capabilities, such as methylation, require additional assays

## Slide 7: How we got to 3rd Gen Sequencing
3rd Generation sequencing
Characterized by
  Longer reads
  Single molecule
  Real time
Example Sequencing Methods
  PacBio SMRT
  ONT Nanopore
Use Cases for Long Reads
Sequencing 101: Comparing long-read sequencing technologies - PacBio
SMN1/2
Fragile-X
BRCA
Telomere Length
Traditional Panels
Methylation
Dark Genome
Telomeres

## Slide 8: Pacbio LONG READ PLATFORMs
PacBio
  Vega
    1 SMRT cell
  Revio
    Up to 4 SMRT cells
Vega
Revio

## Slide 9: HIFI Sequencing
PacBio uses Hi-FI sequencing method
Each Single Molecule, Real-Time (SMRT) cell contains many zero mode waveguides (ZMWs)
Sequencing 101: Comparing long-read sequencing technologies - PacBio
Notes: Image from
Sequencing 101: Comparing long-read sequencing technologies – PacBio - https://www.pacb.com/blog/sequencing-101-comparing-long-read-sequencing-technologies/
Sequencing 101: The SMRT Cell in PacBio long-read sequencing – PacBio - https://www.pacb.com/blog/smrt-cell/
How HiFi sequencing works – PacBio - https://www.pacb.com/technology/hifi-sequencing/how-it-works/

## Slide 10: PacBio SMRT Sequencing
WGS on human genome
  15-20kb library
  30-40x per SMRT Cell (1 sample per)
Error rate in sequencing is advertised as 99.95% (Q33)
Methylation output available

## Slide 11: How Accurate is Q33?
Q21.2 (99.25%) ONT “High-Accuracy”
Q26 (99.75%) ONT “Super High-Accuracy”
Q33 (99.95%) PacBio HiFi

## Slide 12: ONT Long Read PLATFORMs
Oxford Nanopore Technology (ONT)
  MinION
    1 Flow cell
  P2 Solo
    2 Flow cells
  GridION
    5 Flow cells
  PromethION 24
    24 Flow cells
  PromethION 48
    48 Flow cells
PromethION 24
PromethION 48
GridION
MinION
P2 Solo
Notes: Images
PromethION 24/48 - https://nanoporetech.com/products/sequence/promethion-24-48
GridIon - https://enseqlopedia.com/2017/03/minion-gridion-core-lab/
MinIon - https://nanoporetech.com/products/sequence/minion
P2 Solo - https://store.nanoporetech.com/us/p2-solo.html

## Slide 13: How Nanopore Sequencing Works
1)
2)
3)
4)
https://nanoporetech.com/
Notes: https://nanoporetech.com/platform/technology/flow-cells-and-nanopores
https://nanoporetech.com/platform/technology/basecalling

## Slide 14: Base prediction from signal by pre-trained Neural Network models
Real time basecalling
Notes: Images partly from:
https://nanoporetech.com/platform/technology/basecalling
https://nanoporetech.com/platform/accuracy

## Slide 15: ONT Nanopore Sequencing
Large range in read lengths
  Read length is dependent on prep and sample quality
  Some tradeoff between length and coverage
  Have seen experiments targeting 15kb and 30kb lengths
Have seen N50’s from ~500bp to 10,000bp
  Shorter fragments get through nanopore faster, so they can bring down N50 average
Error rate in sequencing is advertised as 99.25% (Q21.2) - 99.75 (Q26) depending on model
Methylation output available

## Slide 16: Base Calling
Dorado
  ONT provided basecaller
  GPU accelerated
  Uses pre-trained neural networks
  Many models (and versions) available
Model choice matters
  Accuracy
    Fast (fast)
    High (hac)
    Super-high (sup)
  Version
  Modified bases (Methylation)
Basecalling Models | Compatible Modifications | Version
dna_r10.4.1_e8.2_400bps_fast@v5.0.0 |  | 
dna_r10.4.1_e8.2_400bps_hac@v5.0.0 | 4mC_5mC 5mCG_5hmCG 5mC_5hmC 6mA | v3 v3 v3 v3
dna_r10.4.1_e8.2_400bps_sup@v5.0.0 | 4mC_5mC 5mCG_5hmCG 5mC_5hmC 6mA | v3 v3 v3 v3
  sup@v4.2.0,5mCG_5hmCG
Accuracy
Version
Modifications
https://github.com/nanoporetech/dorado
Notes: Many models available: https://github.com/nanoporetech/dorado

## Slide 17: Flexible loading
Can start and stop individual FC’s
Add an additional sample while machine is already running
Restart a failed sample without impacting others
Improve a sample by reloading mid-run
  e.g. Wash and reload at 48hr

## Slide 18: Adaptive sampling
Whole Genome Sequencing mode (~20-30x depth)
Adaptive sampling mode can get 3-5x boost
Notes: https://nanoporetech.com/document/adaptive-sampling

## Slide 19: Adaptive sampling Considerations
Need to provide a bed file to define the ROI
A well-designed bed file is
  Total size of bed file should cover 1-5% of genome
  Bigger on-target boost with smaller size
    Diminishing returns between 1% and 3%
  Padding size recommended at N90 of fragment library
    Which is to say, the padding should be larger than most reads
Size of the ROI impacts the boost in depth
  A 1% of the genome ROI might see a 5x boost
  A 10% of the genome ROI might only see a 2x boost
Off-target reads are rejected after around 200-600bp. These reads can be useful as a low-pass short-read WGS.

## Slide 20: Adaptive sampling example output
Target: 3-5x boost in ROI
Sample | WGS Depth | On-target Depth | Off-target Depth | % Genome | OnTarget/WGS
Sample 1 | 32.55 | N/A | N/A | 100% | 1.00x
Sample 2 | 27.88 | 41.61 | 26.12 | (Methyl) 10% | 1.49x
Sample 1 | 36.12 | 60.85 | 34.88 | (Methyl) 5% | 1.68x
Sample 1 | 37.54 | 70.47 | 36.62 | (Methyl) 3% | 1.88x
Sample 1 | 35.19 | 73.53 | 34.89 | (Methyl) 1% | 2.09x
Sample 1 | 32.09 | 65.49 | 30.27 | (CMRG) 1% | 2.04x
Sample 1, SRE, Not Sheared | 11.84 | 37.60 | 11.59 | (CMRG) 1% | 3.19x
Sample 1, SRE, Sheared | 24.04 | 84.54 | 23.46 | (CMRG) 1% | 3.52x
Sample 3, 20kb library | 20.41 | 157.37 | 19.60 | (CMRG) 1% | 7.71x

## Slide 21: “Keep/Reject” Reads
Read Status | Mean Length | N10 | N50 | N90
Keep | 2,931.5 | 8,445 | 3,934 | 1,504
Reject | 672.9 | 867 | 707 | 542

## Slide 22: “Keep/Reject” Reads
Read Status | Mean Length | N10 | N50 | N90
Keep | 6,157.2 | 41,087 | 16,922 | 2,446
Reject | 665.9 | 866 | 703 | 519

## Slide 23: Pipeline for ONT Data
Internally developed using mostly published tools
Designed for DNA variant calling
Includes methylation
Several long-read specific tools doing familiar bioinformatics tasks
  e.g. Alignment

## Slide 24: ModKit
ONT developed tool for converting modBAM to bedMethyl format
If base calling was performed with an appropriate modification model, then the resulting bam has MM: and ML: tags representing methylation
The bedMethyl format is the base 3-column bed file with additional columns describing methylation
  Count of reads at this position
  Count of methylated reads at this position

## Slide 25: FRAGILE-X syndrome
Clinical result: FMR1 expansion (>200 and >200). Methylation abnormal
Tool: trgt
Tool: trgt
Clinical result: FMR1 expansion (>200 and 172). Methylation abnormal
Methylation result: Hypermethylation in FMR1 promoter region
Used average of methylation frequencies from modkit output in FMR1 promoter region

## Slide 26: Improved dark genome
Genomic regions that cannot be adequately assembled or aligned using short reads.
Dark by “depth” – Lack of coverage for regions. ( <5x).
Dark by “ambiguous alignments” of sequence reads. (>90% of reads have low MQ, <10)
Notes: Paper - Systematic analysis of dark and camouflaged genes reveals disease-relevant genes hiding in plain sight | Genome Biology | Full Text - https://genomebiology.biomedcentral.com/articles/10.1186/s13059-019-1707-2

## Slide 27: DARK GENOME and what it constitutes?
https://github.com/mebbert/DarkRegionFinder
36,794 dark regions characterized
Implicated in pathways important to human health, development, and reproduction.
76 dark genes with known mutations associated with 326 human diseases
Ebbert, M.T.W., Jensen, T.D., Jansen-West, K. et al. Systematic analysis of dark and camouflaged genes reveals disease-relevant genes hiding in plain sight. Genome Biol 20, 97 (2019). https://doi.org/10.1186/s13059-019-1707-2

## Slide 28: Long read sequencing resolves dark regions
Ebbert, M.T.W., Jensen, T.D., Jansen-West, K. et al. Systematic analysis of dark and camouflaged genes reveals disease-relevant genes hiding in plain sight. Genome Biol 20, 97 (2019). https://doi.org/10.1186/s13059-019-1707-2
Authors showed good alignments in
  Pseudogenes
  Low complexity regions
  Repeats
Resolves 77% of dark regions

## Slide 29: Final Thoughts
Long read technology is much more mature than previous generations
Long reads can do basically anything that short reads can do in terms of
Long reads can do things short reads can’t
  Challenging Medically Relevant Gene (CMRG) regions
  Methylation
As cost and consistency improve, long reads open new possibilities in research and clinical practice

## Slide 30: QUESTIONS & ANSWERS